IMPACT ASSESSMENT REPORT

AquaSave AI

A lightweight water-wastage detection and conservation simulator

| 79.1 L potential waste in 14 days | 169.4 L projected monthly water saving | Rs 5.08 projected monthly cost saving | 0.059 kg projected monthly CO2 avoided |
| --- | --- | --- | --- |

1. Executive summary

AquaSave AI analysed 336 hourly water-use records for a simulated four-person household. It identified two actionable patterns: sustained overnight flow that may indicate a leak and a single period of unusually high garden use. The prototype converts these alerts into understandable actions and estimated sustainability impact.

2. What the prototype detected

| Detected pattern | Priority | When | Potential waste |
| --- | --- | --- | --- |
| Possible continuous leak | High | 2026-07-06 00:00 to 2026-07-06 05:00 | 62.20 L |
| Unusually high one-hour use | Medium | 2026-07-10 18:00 | 16.86 L |

The alert logic uses transparent rules: persistent overnight readings above 8 L/hour indicate a possible continuous leak; a reading at least 10 litres above its hour-specific statistical range indicates unusual use.

3. Estimated impact

The values below are scenario estimates. They assume that the detected water wastage is prevented consistently over a 30-day month.

| Impact area | Projected result | Interpretation |
| --- | --- | --- |
| Water | 169.4 litres/month | Potential water conserved after corrective action |
| Cost | Rs 5.08/month | Using the editable prototype tariff of Rs 0.03 per litre |
| Pumping energy | 0.085 kWh/month | Using 0.5 kWh per 1,000 litres pumped |
| Carbon emissions | 0.059 kg CO2/month | Using 0.7 kg CO2 per kWh of electricity |

4. Recommended actions

Inspect toilet flush tanks, taps, and concealed pipe connections after a sustained overnight-flow alert.

Review garden watering duration and avoid watering when demand is already unusually high.

Use the dashboard's conservation simulator to compare leak repair and shower-use reduction scenarios.

5. Limitations and scale-up plan

This is a simulation-based prototype, not a live smart-meter deployment. Its water tariff, pumping-energy factor, and electricity-emission factor are transparent project assumptions and should be replaced with local utility values for a formal assessment. At scale, hourly data can be collected from a smart meter or IoT flow sensor; a larger labelled or Kaggle dataset can then be used to compare the existing rules against an Isolation Forest anomaly-detection model.

6. Assignment-roadmap alignment

| Roadmap stage | AquaSave AI evidence |
| --- | --- |
| Identify challenge | Water wastage through leaks and unexpected usage |
| Explore and visualise data | 336 hourly records, daily trend, source summaries, and alerts |
| Design smart solution | Explainable leak and unusual-use detection with conservation scenarios |
| Assess impact | Water, cost, pumping energy, and CO2 projections |
| Plan to scale | Smart-meter integration, more real data, optional machine-learning comparison |